EHS Biosafety Inspection Checklist (2024)

Inspected by: _     ________

A. Laboratory Identification									Date: _     __

- PI's name _     __, Department _     _, Phone _     ____, Email _     ___

Person Interviewed ________     ______, Highest Protocol Biosafety Level _     _

Building/Room # _     _______ BSL _     _ Description _     ______________

Building/Room # _     ______________ BSL _     _ Description _     ______________

- Protocol(s) source:	 IBC		 IACUC	 IRB 		 Other: __________

- IBC approval number(s) _     ______________ IACUC Number(s) _     ________________

List risk(s):  Biohazardous materials:  prion  	 fungal		 virioid	 virus

live animals 			  bacteria	 parasite		 plant(s)	 rDNA

animal cells/tissues		  human blood/fluids/tissues	      human cells  	 non-human primate

(OPIM) other potential infectious material: __     ________________

- UMKC Emergency Procedures poster or Red Emergency Guide Book		  Yes  No

- Who works in this lab? __________________________________________

    - Are your authorized lists up to date?			   Yes  No 	__________________

    - Are Emergency contacts updated and posted?                     Yes  No __________________

    - Is everyone up to date on CITI biosafety training?	   Yes  No 	__________________

    - Is everyone up to date on HSI training?                                Yes  No 	__________________

B. Facility/Equipment

- Airflow from lower-hazard to higher-hazard areas 	 Yes	  No   N/A

- Sink for handwashing with soap and towels		 Yes	  No 	 N/A

- BSL-2 eyewash	, safety shower				 Yes	  No 	 N/A

- Eyewash is ran weekly                                          	 Yes	  No   N/A

- BSL-2 self-closing doors/BSL-1 lockable doors		 Yes	  No 	 N/A

- Cleanable surfaces—no carpets	, non-porous chairs	 Yes	  No 	 N/A

- Spill-kit available and labeled		                           Yes	  No 	 N/A

- First aid kit available					 Yes	  No 	 N/A

- Large or tall equipment are anchored         		 Yes	  No 	 N/A

- Windows meet NIH & BMBL guidelines			 Yes	  No 	 N/A

Biosafety Cabinets

- Effective use of biosafety cabinets 			 Yes	  No 	 N/A

  - Biosafety cabinet in use

Make Model, serial #, UMKC #, last certification__     ____________________________

Make Model, serial #, UMKC #, last certification__     ____________________________

  - Biosafety cabinet certification up to date			 Yes	  No	 N/A

  - Decontamination of biosafety cabinet      __________________________________

  - Neat/uncluttered work area in biosafety cabinet 		 Yes	  No 	 N/A

  - Front grille uncluttered and clear		 		 Yes	  No 	 N/A

  - HEPA filter on vacuum line in BSC			 Yes	  No 	 N/A

  - Is the suction flask more than ½ full?			 Yes	  No 	 N/A

  - Does the vacuum flask have secondary containment?       Yes	  No 	 N/A

C. Work Practices

- Surface decontamination/disinfectant used: __     _________	 Yes    No   N/A

- Are mechanical pipetting devices available and used? 		 Yes	  No 	 N/A

- Any evidence of eating/drinking in the lab areas?			 Yes	  No 	 N/A

- Are lab coats worn and clean?  					 Yes	  No 	 N/A

- Are gloves worn to protect hands from biohazardous exposure?	 Yes	  No 	 N/A

- Are safety glasses available/ worn as recommended? 		 Yes	  No 	 N/A

- Is long hair restrained during lab work?		 		 Yes	  No 	 N/A

- Is PPE removed before leaving for non-laboratory areas?	 Yes	  No 	 N/A

- Pest management plan integrated; any pests seen in lab area?	 Yes	  No 	 N/A

- Are steps taken to control potential aerosols of infectious materials? 	  Yes	  No 	  N/A

  - Centrifuge – Are sealed rotor buckets used? 				  Yes	  No 	 N/A

  - Centrifuging performed in BSC?	If not, bucket opened in BSC?		  Yes	  No 	 N/A

  - Sonication – Performed in BSC and with hearing protection? 	 	  Yes	  No 	 N/A

  - Homogenization/Blending – Performed in BSC or with safety blender?	  Yes	  No 	 N/A

  - Pipetting – Filter tips? Discharge liquid down tube side, not into liquid?	  Yes	  No 	 N/A

D. Hazard Communication

- Biosafety placard/information posted at entrance to the lab	 Yes	  No 	 N/A

- Biosafety stickers present where biohazards used/stored		 Yes	  No 	 N/A

E. Biohazard Waste Handling

- Labeled rigid containers with lids (boxes or tubs)			 Yes	  No 	 N/A

- Red bags & approved containers used for Biohazardous wastes 	 Yes	  No 	 N/A

- Appropriate transporting of waste in room(s)/building(s)		 Yes	  No 	 N/A

- Only biohazard waste in red bags/no liquids			 Yes	  No 	 N/A

- Appropriate labels and information on containers 		 Yes	  No 	 N/A

- Sharps used: ______________________			 Yes	  No 	 N/A

- Sharps containers present and used appropriately (if needed)	 Yes	  No 	 N/A

- Is waste autoclaved? Location? _____________________	 Yes	  No 	 N/A

F. Interview

- Biosafety knowledge 						 Yes	  No 	 N/A

- Hazards of materials in their workplace	    ______________________________________________________________________________

- How is waste disposed of? Solid vs liquid      _____________________________________________________________________________

- Special precautions, practices, or procedures _____________________________________________________________________________

- Emergency response procedures 	       ______________________________________________________________________________

- Location of Biohazardous material storage      _____________________________________________________________________________

Comments: